JOB OPTIONS, INC.

# SITE INSPECTION – SAFETY CHECKLIST

Site: Click or tap here to enter text.	Date: Click or tap here to enter text.	Time: Click or tap here to enter text. Project Manager: Click or tap here to enter text.	Inspector(s): Click or tap here to enter text.

YES   NO  N/A
EMPLOYER POSTINGS / RECORD-KEEPING:

☐  ☐	☐	1.	OSHA Poster “Safety & Health Protection on the Job” displayed.

☐	☐	☐	2.	Emergency phone numbers posted where they can be found in case of emergency.

☐	☐	☐	3.	Safety Data Sheets and copy of Hazard Communication Program in binder and available for employees.

☐	☐	☐	4.	“Days Since Accident” sign up and up-to-date.

☐	☐	☐	5.	Safety Concern Cards displayed and stocked.

☐	☐	☐	6.	OSHA Form 300A, Summary of Work-Related Injuries & Illnesses posted Feb 1st thru April 30th.

☐	☐	☐	7.	Safety Binder on-site, well-organized & replenished with appropriate reporting forms.

☐	☐	☐	8.	Procedures for Reporting an Injury/Incident displayed.

YES   NO  N/A
MEDICAL SERVICE & FIRST AID:

☐	☐	☐	1.	Occupational Health clinic and hospital locations displayed.

☐	☐	☐	2.	First aid kit easily accessible.

☐	☐	☐	3.	First aid kit well supplied and in good condition.

☐	☐	☐	4.	Eye wash station provided in areas where corrosive chemicals are handled.

☐	☐	☐	5.	Eye wash station has proper signs and instructions for use and in clean condition.

YES   NO  N/A
FIRE PROTECTION:

☐	☐	☐	1.	Fire extinguishers provided in adequate number and type.

Class A (Ordinary combustible material fires) Class B (Flammable liquid, gas, or grease fires) Class C (Energized electrical equipment fires)

☐	☐	☐	2.	Fire extinguishers mounted in accessible locations and properly marked.

☐	☐	☐	3.	Fire extinguishers are fully charged and the annual date of recharge is noted on the inspection tag.

☐	☐	☐	4.	All exits free of obstruction and easily accessible.

YES   NO  N/A
PERSONAL PROTECTIVE EQUIPMENT (PPE):

☐	☐	☐	1.	PPE (gloves, goggles, etc.) available to employees when using corrosive liquids or chemicals.

☐	☐	☐	2.	Appropriate foot protection worn where necessary.

☐	☐	☐	3.	Protection against the effects of occupational noise available (ear plugs) where necessary.

☐	☐	☐	4.	Hard hats (where necessary) inspected periodically for damage to the shell and suspension system.

YES   NO  N/A
GENERAL WORK ENVIRONMENT:

☐	☐	☐	1.	All work areas are clean and orderly.

☐	☐	☐	2.	All work areas are properly illuminated.  Light switches and cover plates in place.

☐	☐	☐	3.	Aisles and passageways kept clear.

☐	☐	☐	4.	Materials/equipment stored in a manner to prevent sharp projections from interfering the walkway.

☐	☐	☐	5.	Floors are clean, orderly and free of oil, grease or other hazard.

☐	☐	☐	6.	Wet floor signs are properly displayed.

☐	☐	☐	7.	Contents of filing cabinets arranged so that they are not top-heavy.

☐	☐	☐	8.	Material on elevated surfaces piled, stacked, or racked in a manner to prevent it from tipping, falling, collapsing, rolling or spreading.

☐	☐	☐	9.	Employee restrooms are clean and sanitary.

☐	☐	☐	10.   Employee lounge and/or kitchen areas are clean and sanitary.

YES   NO  N/A
HAZARD COMMUNICATION (EMPLOYEE RIGHT-TO-KNOW):

☐	☐	☐	1.	Safety Data Sheets readily available for each hazardous substance used.

☐	☐	☐	2.	All hazardous substance containers are labeled with product identity and hazards warning.

☐	☐	☐	3.	Employees aware of safe handling practices of hazardous chemicals present at site.

YES   NO  N/A
LADDERS / STEP STOOLS:

☐	☐	☐	1.	All ladders/step stools maintained in good condition.

☐	☐	☐	2.	Non-slip safety feet are on each ladder/step stool.

☐	☐	☐	3.	Non-slip safety treads are on each step of the ladder/step stool.

☐	☐	☐	4.	Employees prohibited from using ladders/step stools that are faulty.

YES   NO  N/A
MACHINE GUARDING:

☐	☐	☐	1.	Emergency stop buttons colored red.

☐	☐	☐	2.	Power shut-off switch within reach of the operator’s position at each machine.

☐	☐	☐	3.		Provisions made to prevent machines from automatically starting when power is restored after a power failure or shutdown.

☐	☐	☐	4.	Training program to instruct employees on safe methods of machine operation.

☐	☐	☐	5.	Written process in place for regular safety inspection of machinery and equipment.

☐	☐	☐	6.	All equipment kept clean and properly maintained.

☐	☐	☐	7.	All moving chains and gears properly guarded.

☐	☐	☐	8.	Equipment securely placed or anchored to prevent tipping or other movements that could result in personal injury.

YES   NO  N/A
ELECTRICAL:

☐	☐	☐	1.	Electrical appliances, such as vacuum cleaners, polishers, etc., grounded.

☐	☐	☐	2.	Electrical cords show no signs of deterioration.

☐	☐	☐	3.	Electrical equipment cords kept off walkways.

☐	☐	☐	4.	When electrical equipment is serviced, maintained, or adjusted, necessary switches are placed in the off position, locked out, and tagged whenever possible.

### BLOODBORNE PATHOGENS:

YES   NO  N/A

☐	☐	☐	1.	Employees aware of appropriate workplace practices (i.e., hand washing, disposal of contaminated materials.)

☐	☐	☐	2.	Personal protective equipment available to employees if needed.

☐	☐	☐	3.	Sharps containers present at site, where applicable.

☐	☐	☐	4.	Employees are aware of universal precautions.

☐	☐	☐	5.	Employees are aware of proper handling and disposal of sharps.

YES   NO  N/A
FORKLIFT:

☐	☐	☐	1.	Operating instructions for forklifts posted as required by Cal/OSHA.

☐	☐	☐	2.	Checklist is utilized for the start of the shift or before use of forklift.

☐	☐	☐	3.	Key removed from forklift when out of operation.

☐	☐	☐	4.	Forklift has a warning horn, whistle, gong, or other device that can be clearly heard above the normal noise in the area where operated.

☐	☐	☐	5.	Aisle ways designated, permanently marked, and kept clear to allow unhindered passage.

☐	☐	☐	6.	Speed limit is posted and visible.

YES   NO  N/A
EMPLOYEE AWARENESS:

☐	☐	☐	1.	Employees are aware of evacuation procedures & roll call meeting place.

☐	☐	☐	2.	Employees are aware of the procedures for reporting an injury or incident.

☐	☐	☐	3.	Employees are aware of Safety Concern Cards and encouraged to report hazards.

☐	☐	☐	4.	Employees are aware of the Extra Mile Club.  The EMC Award Winners poster is visible.

A copy of this checklist will be provided to the Project and Division Managers along with a summary of the inspection once completed. Any hazardous condition(s) requiring immediate correction have been verbally discussed and are expected to be removed or rectified immediately to prevent potential injury. The inspection summary may also include suggestions for other corrections/changes that should be addressed as soon as is feasible.

SIGNATURES:

| Inspector Click or tap here to enter text. | Date Click or tap here to enter text. |  | Inspector Click or tap here to enter text. | Date Click or tap here to enter text. |
| --- | --- | --- | --- | --- |
| Project Manager Click or tap here to enter text. | Date Click or tap here to enter text. |  | Division Manager Click or tap here to enter text. | Date Click or tap here to enter text. |

IMPORTANT:  PLEASE COMPLETE BACK PAGE – SPECIFIC SAFETY CONERNS REQUIRING ACTION

TO:	Job Options Safety Officer

Upon completion of this inspection, the following items were found to be in need of further action:

Click or tap here to enter text.

(Project Manager will be notified in writing of any further action taken to address the items above.)